## 3-9 May
| Reporting Week. | 3-9
| Month: | May
| Compiled By: | BRTI M&E
Specimens Received
| Laboratory | Samples Carried Over (Previous Week(s)) | Samples Received (Current Week) | [6 empty] | Samples Rejected (Current Week) | Total Samples Received (Current Week) | # of samples entered into LIMS | Total Samples Current + Carryover | Samples Referred | Samples Referred to (Name) | % Rejection Rate (Current Week) | Number of results printed (LIMS) |  | Total Results dispatched by lab |  | Comment: [Please input any comment regarding samples carryover; samples received; samples rejected; rejection rate; printing and dispatch of results and developments and policy changes if applicable]
|  |  | Nasopharyngeal Swab | Nasal Swab | Oropharyngeal Swab | Midturbinate Nasal Swab | Sputum | Whole Blood/Plasma/Serum | Other (specify)
| NMRL | 0 | 179 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 210 |  | 0 | 0 |  | 201 |  | 201
| NTBRL | 0 | 286 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 286 |  | 0 | 0 |  | 286 |  | 286
| Mutare | 3 | 82 | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 78 |  | 0 | 0 |  | 81 |  | 81 |  | 1 leaked sample rejected.
| Wilkins | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
| BRIDH | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 2 |  | 2
| Gweru | 0 | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 31 |  | 0 | 0 |  | 31 |  | 31
| Chinhoyi | 0 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
| Masvingo | 0 | 124 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2 |  | 0 | 0 |  | 0 |  | 0
| Beitbridge | 0 | 126 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 126
| Victoria Falls | 0 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 34 |  | 0 | 0 |  | 34 |  | 34
| Bindura | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
| Kadoma | 0 | 66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
| Marondera | 0 | 168 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 23 |  | 0 | 0 |  | 26 |  | 26
| St Lukes | 0 | 346 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 20 |  | 0 | 0 |  | 0 |  | 0
| Gwanda | 0 | 273 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 273 |  | 0 | 0 |  | 273 |  | 273
Total
Specimens Run
| Laboratory | Tests Done | [27 empty] | Total Tests Done |  |  | Error Rates
|  | Abbott |  |  |  | BMX |  |  |  | GeneXpert |  |  |  | Quant Studio3 |  |  |  | Hologic Panther |  |  |  | RDT (Antibody) |  |  |  | RDT (Antigen) |  |  |  | Total Tests Done | Total Repeats | Total Patients Run | Abbott | BMX | GeneXpert | Quant Studio3 | Hologic Panther | RDT(Antibody) | RDT(Antigen)
|  | Run | Failed but eligible for repeat | Failed not eligible for repeat | Repeat | Run | Failed but eligible for repeat | Failed not eligible for repeat | Repeat | Run | Failed but eligible for repeat | Failed not eligible for repeat | Repeat | Run | Failed but eligible for repeat | Failed not eligible for repeat | Repeat | Run | Failed but eligible for repeat | Failed not eligible for repeat | Repeat | Run | Failed but eligible for repeat | Failed not eligible for repeat | Repeat | Run | Failed but eligible for repeat | Failed not eligible for repeat | Repeat
| NMRL | 165 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NTBRL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 286 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Mutare | 74 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Wilkins | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| BRIDH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0
| Gweru | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Chinhoyi | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40 | 0 | 0 | 0
| Masvingo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 122 | 0 | 0 | 0
| Beitbridge | 91 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Victoria Falls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Bindura | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Kadoma | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65 | 0 | 0 | 0
| Marondera | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 143 | 0 | 0 | 0
| St Lukes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 324 | 0 | 0 | 0
| Gwanda | 273 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total
General comments regarding testing and challenges (interruptions) faced by the laboratory
NMRL
NTBRL
Mutare
Wilkins
| BRIDH | Trained on use of Lumira DX Antigen Test Point of Care Analyser
Gweru
Chinhoyi
Masvingo
| Beitbridge | Distiller not working,, distilled water not available, printer not working
Victoria Falls
| Bindura | No testing since the Genexpert machine is not working and the catridges are out of stock
Kadoma
Marondera
St Lukes
Gwanda
| Lab | # of Staff who tested positive to Covid 19 at VL Lab | # of staff who tested positive to Covid 19 at Hubs | # of staff who have been vaccinated | Comment (Please specify the occupation of the person who has tested postive.Riders are also included )
| NMRL | 0 | 0 | 0
| NTBRL | 0 | 0 | 0
| Mutare | 0 | 0 | 0
| Wilkins | 0 | 0 | 0
| BRIDH | 0 | 0 | 0
| Gweru | 0 | 0 | 0
| Chinhoyi | 0 | 0 | 0
| Masvingo | 0 | 0 | 0
| Beitbridge | 0 | 0 | 0
| Victoria Falls | 0 | 0 | 0
| Bindura | 0 | 0 | 0
| Kadoma | 0 | 0 | 0
| Marondera | 0 | 0 | 0
| St Lukes | 0 | 0 | 0
| Gwanda | 0 | 0 | 0
| Total |  |  | 0
Request to BRTI from the laboratory
NMRL
NTBRL
| Mutare | Samples failed due to IC Failure on internal control
Wilkins
BRIDH
Gweru
| Chinhoyi | Surgical masks (500) and disposible gowns(300)
Masvingo
| Beitbridge | Printer and distiller water
Victoria Falls
Bindura
Kadoma
Marondera
St Lukes
Gwanda
| Machine Breakdown (Number) | [6 empty] | Machine Downtime (days) | [5 empty] | Reagent Stockout
Machine Downtime and Reagent Stock out Tool |  | Abbott | BMX | GeneXpert | Quant Studio 3 | Hologic Panther | Comments | Abbott | BMX | GeneXpert | Quant Studio 3 | Hologic panther | Comments | Abbott | BMX | GeneXpert | Quant Studio 3 | Hologic panther | Comments
| NMRL | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
| NTBRL | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
| Mutare | 0 |  | 0 |  |  |  | 0 |  | 0 |  |  |  | 0 |  | 0
| Wilkins |  | 0 | [5 empty] | 0 | [5 empty] | 0
| BRIDH |  |  | 0 | [5 empty] | 0 | [5 empty] | 0
| Gweru |  |  | 0 | [5 empty] | 0 | [5 empty] | 0
| Chinhoyi |  |  | 0 | [5 empty] | 0 | [5 empty] | 0
| Masvingo |  | 0 | 0 |  |  |  |  | 7 | 0 |  |  |  |  | 7 | 0
| Beitbridge | 0 |  | 0 |  |  |  | 0 |  | 0 |  |  |  | 0 |  | 0
| Victoria Falls |  |  | 1 |  |  | hardware error |  |  | 7 |  |  | Hardware error |  |  | 0
| Bindura |  |  | 1 |  |  | Gene xpert PC not functional |  |  | 7 |  |  | Gene xpert PC not functional |  |  | 7 |  |  | National Stockout
| Kadoma |  |  | 0 | [5 empty] | 0 | [5 empty] | 0
| Marondera |  |  | 0 | [5 empty] | 0 | [5 empty] | 0
| St Lukes | 0 |  | 0 |  |  |  | 0 |  | 0 |  |  |  | 0 |  | 0
| Gwanda | 0 |  | 0 |  |  |  | 0 |  | 0 |  |  |  | 0 |  | 0

## 10-16 May
| Reporting Week. | 10-16
| Month: | May
| Compiled By: | BRTI M&E
Specimens Received
| Laboratory | Samples Carried Over (Previous Week(s)) | Samples Received (Current Week) | [6 empty] | Samples Rejected (Current Week) | Total Samples Received (Current Week) | # of samples entered into LIMS | Total Samples Current + Carryover | Samples Referred | Samples Referred to (Name) | % Rejection Rate (Current Week) | Number of results printed (LIMS) |  | Total Results dispatched by lab |  | Comment: [Please input any comment regarding samples carryover; samples received; samples rejected; rejection rate; printing and dispatch of results and developments and policy changes if applicable]
|  |  | Nasopharyngeal Swab | Nasal Swab | Oropharyngeal Swab | Midturbinate Nasal Swab | Sputum | Whole Blood/Plasma/Serum | Other (specify)
| NMRL | 0 | 271 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 250 |  | 0 | 0 |  | 279 |  | 279
| NTBRL | 0 | 110 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 110 |  | 0 | 0 |  | 110 |  | 110
| Mutare | 5 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  | 0 | 0 |  | 2 |  | 2
| Wilkins | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
| BRIDH | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  | 0 | 0 |  | 0 |  | 0
| Gweru | 0 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 32 |  | 0 | 0 |  | 32 |  | 32
| Chinhoyi | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
| Masvingo | 0 | 365 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 4 |  | 0 | 0 |  | 0 |  | 0
| Beitbridge | 0 | 266 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 265
| Victoria Falls | 0 | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 36 |  | 0 | 0 |  | 36 |  | 36
| Bindura | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
| Kadoma | 0 | 221 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
| Marondera | 0 | 216 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 62 |  | 0 | 0 |  | 62 |  | 62
| St Lukes | 0 | 362 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 |  | 0 | 0 |  | 1 |  | 1
| Gwanda | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
Total
Specimens Run
| Laboratory | Tests Done | [27 empty] | Total Tests Done |  |  | Error Rates
|  | Abbott |  |  |  | BMX |  |  |  | GeneXpert |  |  |  | Quant Studio3 |  |  |  | Hologic Panther |  |  |  | RDT (Antibody) |  |  |  | RDT (Antigen) |  |  |  | Total Tests Done | Total Repeats | Total Patients Run | Abbott | BMX | GeneXpert | Quant Studio3 | Hologic Panther | RDT(Antibody) | RDT(Antigen)
|  | Run | Failed but eligible for repeat | Failed not eligible for repeat | Repeat | Run | Failed but eligible for repeat | Failed not eligible for repeat | Repeat | Run | Failed but eligible for repeat | Failed not eligible for repeat | Repeat | Run | Failed but eligible for repeat | Failed not eligible for repeat | Repeat | Run | Failed but eligible for repeat | Failed not eligible for repeat | Repeat | Run | Failed but eligible for repeat | Failed not eligible for repeat | Repeat | Run | Failed but eligible for repeat | Failed not eligible for repeat | Repeat
| NMRL | 184 | 27 | 0 | 1 | 0 | 0 | 0 | 0 | 87 | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NTBRL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 110 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Mutare | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Wilkins | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| BRIDH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0
| Gweru | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Chinhoyi | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0
| Masvingo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 361 | 0 | 0 | 0
| Beitbridge | 246 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Victoria Falls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Bindura | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Kadoma | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 221 | 0 | 0 | 0
| Marondera | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 154 | 0 | 0 | 0
| St Lukes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 361 | 0 | 0 | 0
| Gwanda | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total
General comments regarding testing and challenges (interruptions) faced by the laboratory
| NMRL | 26 samples failed on Abbott machine due to a internal control failure, amplifications kits for quanti studio 3 platform out of stock.
NTBRL
Mutare
Wilkins
BRIDH
Gweru
Chinhoyi
Masvingo
Beitbridge
Victoria Falls
| Bindura | New PC procured for GeneXpert, awaiting new software
Kadoma
Marondera
St Lukes
Gwanda
| Lab | # of Staff who tested positive to Covid 19 at VL Lab | # of staff who tested positive to Covid 19 at Hubs | # of staff who have been vaccinated | Comment (Please specify the occupation of the person who has tested postive.Riders are also included )
| NMRL | 0 | 0 | 0
| NTBRL | 0 | 0 | 0
| Mutare | 0 | 0 | 0
| Wilkins | 0 | 0 | 0
| BRIDH | 0 | 0 | 0
| Gweru | 0 | 0 | 0
| Chinhoyi | 0 | 0 | 0
| Masvingo | 0 | 0 | 0
| Beitbridge | 0 | 0 | 0
| Victoria Falls | 0 | 0 | 0
| Bindura | 0 | 0 | 0
| Kadoma | 0 | 0 | 0
| Marondera | 0 | 0 | 0
| St Lukes | 0 | 0 | 0
| Gwanda | 0 | 0 | 0
| Total |  |  | 0
Request to BRTI from the laboratory
NMRL
NTBRL
Mutare
Wilkins
BRIDH
Gweru
Chinhoyi
Masvingo
| Beitbridge | Distiller and printer not working. Distilled water not available.
Victoria Falls
| Bindura | Bond paper, thermal printer stickers, rubber bands
Kadoma
Marondera
St Lukes
Gwanda
| Machine Breakdown (Number) | [6 empty] | Machine Downtime (days) | [5 empty] | Reagent Stockout
Machine Downtime and Reagent Stock out Tool |  | Abbott | BMX | GeneXpert | Quant Studio 3 | Hologic Panther | Comments | Abbott | BMX | GeneXpert | Quant Studio 3 | Hologic panther | Comments | Abbott | BMX | GeneXpert | Quant Studio 3 | Hologic panther | Comments
| NMRL | 0 | 1 | 0 | 0 |  | waiting for a replacement part | 0 | 7 | 0 | 0 |  | waiting for a replacement part | 0 | 7 | 0 | 0 |  | Amplifications kits for quantistudio 3 platform out of stock
| NTBRL | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
| Mutare | 1 |  | 0 |  |  | Mechanical error on Abbott SP instruments. | 4 |  | 0 |  |  | Mechanical error on Abbott SP instruments. | 0 |  | 0
| Wilkins |  | 0 | [5 empty] | 0 | [5 empty] | 0
| BRIDH |  |  | 0 | [5 empty] | 0 | [5 empty] | 0
| Gweru |  |  | 0 | [5 empty] | 0 | [5 empty] | 0
| Chinhoyi |  |  | 0 | [5 empty] | 0 | [5 empty] | 0
| Masvingo |  | 0 | 0 |  |  |  |  | 7 | 0 |  |  |  |  | 7 | 0
| Beitbridge | 0 |  | 0 |  |  |  | 0 |  | 0 |  |  |  | 0 |  | 0
| Victoria Falls |  |  | 1 |  |  | Hardware error computer hard drive crushed |  |  | 7 | [5 empty] | 0
| Bindura |  |  | 1 |  |  | Gene xpert PC not functional |  |  | 7 | [5 empty] | 7 |  |  | No cartidges
| Kadoma |  |  | 0 | [5 empty] | 0 | [5 empty] | 0
| Marondera |  |  | 0 | [5 empty] | 0 | [5 empty] | 0
| St Lukes | 0 |  | 0 |  |  |  | 0 |  | 0 |  |  |  | 0 |  | 0
| Gwanda | 0 |  | 0 |  |  |  | 0 |  | 0 |  |  |  | 0 |  | 0

## 17-23 May
| Reporting Week. | 17-23
| Month: | May
| Compiled By: | BRTI M&E
Specimens Received
| Laboratory | Samples Carried Over (Previous Week(s)) | Samples Received (Current Week) | [6 empty] | Samples Rejected (Current Week) | Total Samples Received (Current Week) | # of samples entered into LIMS | Total Samples Current + Carryover | Samples Referred | Samples Referred to (Name) | % Rejection Rate (Current Week) | Number of results printed (LIMS) |  | Total Results dispatched by lab |  | Comment: [Please input any comment regarding samples carryover; samples received; samples rejected; rejection rate; printing and dispatch of results and developments and policy changes if applicable]
|  |  | Nasopharyngeal Swab | Nasal Swab | Oropharyngeal Swab | Midturbinate Nasal Swab | Sputum | Whole Blood/Plasma/Serum | Other (specify)
| NMRL | 0 | 227 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 224 |  | 0 | 0 |  | 192 |  | 192
| NTBRL | 0 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 60 |  | 0 | 0 |  | 60 |  | 60
| Mutare | 5 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 23 |  | 23
| Wilkins | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
| BRIDH | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 4 |  | 0 | 0 |  | 30 |  | 30
| Gweru | 0 | 64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 64 |  | 0 | 0 |  | 64 |  | 64
| Chinhoyi | 0 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 14
| Masvingo | 0 | 251 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 251
| Beitbridge | 1 | 192 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 193
| Victoria Falls | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 17 |  | 0 | 0 |  | 17 |  | 17
| Bindura | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
| Kadoma | 0 | 72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
| Marondera | 0 | 173 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 29 |  | 0 | 0 |  | 29 |  | 29
| St Lukes | 0 | 69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 9 |  | 0 | 0 |  | 9 |  | 9
| Gwanda | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
Total
Specimens Run
| Laboratory | Tests Done | [27 empty] | Total Tests Done |  |  | Error Rates
|  | Abbott |  |  |  | BMX |  |  |  | GeneXpert |  |  |  | Quant Studio3 |  |  |  | Hologic Panther |  |  |  | RDT (Antibody) |  |  |  | RDT (Antigen) |  |  |  | Total Tests Done | Total Repeats | Total Patients Run | Abbott | BMX | GeneXpert | Quant Studio3 | Hologic Panther | RDT(Antibody) | RDT(Antigen)
|  | Run | Failed but eligible for repeat | Failed not eligible for repeat | Repeat | Run | Failed but eligible for repeat | Failed not eligible for repeat | Repeat | Run | Failed but eligible for repeat | Failed not eligible for repeat | Repeat | Run | Failed but eligible for repeat | Failed not eligible for repeat | Repeat | Run | Failed but eligible for repeat | Failed not eligible for repeat | Repeat | Run | Failed but eligible for repeat | Failed not eligible for repeat | Repeat | Run | Failed but eligible for repeat | Failed not eligible for repeat | Repeat
| NMRL | 168 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NTBRL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18 | 0 | 0 | 0 | 42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Mutare | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Wilkins | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| BRIDH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 0
| Gweru | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Chinhoyi | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 0 | 0 | 0
| Masvingo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 251 | 0 | 0 | 0
| Beitbridge | 117 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 77 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Victoria Falls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Bindura | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Kadoma | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 72 | 0 | 0 | 0
| Marondera | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 144 | 0 | 0 | 0
| St Lukes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 0 | 0 | 0
| Gwanda | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total
General comments regarding testing and challenges (interruptions) faced by the laboratory
NMRL
NTBRL
Mutare
Wilkins
BRIDH
Gweru
Chinhoyi
Masvingo
| Beitbridge | Distiller not working. Getting distilled water from Mpilo.
Victoria Falls
Bindura
Kadoma
Marondera
St Lukes
Gwanda
| Lab | # of Staff who tested positive to Covid 19 at VL Lab | # of staff who tested positive to Covid 19 at Hubs | # of staff who have been vaccinated | Comment (Please specify the occupation of the person who has tested postive. Riders are also included )
| NMRL | 0 | 0 | 0
| NTBRL | 0 | 0 | 0
| Mutare | 0 | 0 | 0
| Wilkins | 0 | 0 | 0
| BRIDH | 0 | 0 | 0
| Gweru | 0 | 0 | 0
| Chinhoyi | 0 | 0 | 0
| Masvingo | 0 | 0 | 0
| Beitbridge | 0 | 0 | 0
| Victoria Falls | 0 | 0 | 0
| Bindura | 0 | 0 | 0
| Kadoma | 0 | 0 | 0
| Marondera | 0 | 0 | 0
| St Lukes | 0 | 0 | 2
| Gwanda | 0 | 0 | 0
| Total |  |  | 0
Request to BRTI from the laboratory
NMRL
NTBRL
Mutare
Wilkins
BRIDH
Gweru
| Chinhoyi | 10*Boxes of 50 surgical masks
Masvingo
Beitbridge
Victoria Falls
Bindura
| Kadoma | Powder free gloves
Marondera
St Lukes
Gwanda
| Machine Breakdown (Number) | [6 empty] | Machine Downtime (days) | [5 empty] | Reagent Stockout
Machine Downtime and Reagent Stock out Tool |  | Abbott | BMX | GeneXpert | Quant Studio 3 | Hologic Panther | Comments | Abbott | BMX | GeneXpert | Quant Studio 3 | Hologic panther | Comments | Abbott | BMX | GeneXpert | Quant Studio 3 | Hologic panther | Comments
| NMRL | 0 | 1 | 0 | 0 |  | Waiting for a replacement part | 0 | 7 | 0 | 0 |  | Waiting for a replacement part | 0 | 7 | 0 | 0 |  | National Stockout
| NTBRL | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
| Mutare | 0 |  | 0 |  |  |  | 0 |  | 0 |  |  |  | 0 |  | 0
| Wilkins |  | 0 | [5 empty] | 0 | [5 empty] | 0
| BRIDH |  |  | 0 | [5 empty] | 0 | [5 empty] | 0
| Gweru |  |  | 0 | [5 empty] | 0 | [5 empty] | 0
| Chinhoyi |  |  | 0 | [5 empty] | 0 | [5 empty] | 0
| Masvingo |  | 0 | 0 |  |  |  |  | 7 | 0 |  |  |  |  | 7 | 0
| Beitbridge | 0 |  | 0 |  |  |  | 0 |  | 0 |  |  |  | 0 |  | 0
| Victoria Falls |  |  | 0 | [5 empty] | 0 | [5 empty] | 0
| Bindura |  |  | 0 | [5 empty] | 0 | [5 empty] | 0
| Kadoma |  |  | 0 | [5 empty] | 0 | [5 empty] | 0
| Marondera |  |  | 0 | [5 empty] | 0 | [5 empty] | 0
| St Lukes | 1 |  | 0 |  |  | Blockage on Abbott m2000sp analyser | 1 |  | 0 |  |  | Blockage on Abbott m2000sp analyser | 0 |  | 0
| Gwanda | 0 |  | 1 |  |  | Handler motor non-functional | 2 |  | 0 |  |  | Handler motor non-functional | 0 |  | 0

## 24-30 May
| Reporting Week. | 24-30
| Month: | May
| Compiled By: | BRTI M&E
Specimens Received
| Laboratory | Samples Carried Over (Previous Week(s)) | Samples Received (Current Week) | [6 empty] | Samples Rejected (Current Week) | Total Samples Received (Current Week) | # of samples entered into LIMS | Total Samples Current + Carryover | Samples Referred | Samples Referred to (Name) | % Rejection Rate (Current Week) | Number of results printed (LIMS) |  | Total Results dispatched by lab |  | Comment: [Please input any comment regarding samples carryover; samples received; samples rejected; rejection rate; printing and dispatch of results and developments and policy changes if applicable]
|  |  | Nasopharyngeal Swab | Nasal Swab | Oropharyngeal Swab | Midturbinate Nasal Swab | Sputum | Whole Blood/Plasma/Serum | Other (specify)
| NMRL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
| NTBRL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
| Mutare | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
| Wilkins | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
| BRIDH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
| Gweru | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
| Chinhoyi | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
| Masvingo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
| Beitbridge | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
| Victoria Falls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
| Bindura | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 200% | 1 |  | 1 |  | .babe ooooh babesKDJz HXONILK
| Kadoma | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
| Marondera | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
| St Lukes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
| Gwanda | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0
Total
Specimens Run
| Laboratory | Tests Done | [27 empty] | Total Tests Done |  |  | Error Rates
|  | Abbott |  |  |  | BMX |  |  |  | GeneXpert |  |  |  | Quant Studio3 |  |  |  | Hologic Panther |  |  |  | RDT (Antibody) |  |  |  | RDT (Antigen) |  |  |  | Total Tests Done | Total Repeats | Total Patients Run | Abbott | BMX | GeneXpert | Quant Studio3 | Hologic Panther | RDT(Antibody) | RDT(Antigen)
|  | Run | Failed but eligible for repeat | Failed not eligible for repeat | Repeat | Run | Failed but eligible for repeat | Failed not eligible for repeat | Repeat | Run | Failed but eligible for repeat | Failed not eligible for repeat | Repeat | Run | Failed but eligible for repeat | Failed not eligible for repeat | Repeat | Run | Failed but eligible for repeat | Failed not eligible for repeat | Repeat | Run | Failed but eligible for repeat | Failed not eligible for repeat | Repeat | Run | Failed but eligible for repeat | Failed not eligible for repeat | Repeat
| NMRL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NTBRL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Mutare | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Wilkins | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| BRIDH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Gweru | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Chinhoyi | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Masvingo | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Beitbridge | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Victoria Falls | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Bindura | 10 | 20 | 30 | 22 | 254651 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 100% | 100% | 100% | 100% | 100% | 100% | 100%
| Kadoma | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Marondera | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| St Lukes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Gwanda | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total
General comments regarding testing and challenges (interruptions) faced by the laboratory
NMRL
NTBRL
Mutare
Wilkins
BRIDH
Gweru
Chinhoyi
Masvingo
Beitbridge
Victoria Falls
| Bindura | .
Kadoma
Marondera
St Lukes
Gwanda
| Lab | # of Staff who tested positive to Covid 19 at VL Lab | # of staff who tested positive to Covid 19 at Hubs | # of staff who have been vaccinated | Comment (Please specify the occupation of the person who has tested postive.Riders are also included )
| NMRL | 0 | 0 | 0
| NTBRL | 0 | 0 | 0
| Mutare | 0 | 0 | 0
| Wilkins | 0 | 0 | 0
| BRIDH | 0 | 0 | 0
| Gweru | 0 | 0 | 0
| Chinhoyi | 0 | 0 | 0
| Masvingo | 0 | 0 | 0
| Beitbridge | 0 | 0 | 0
| Victoria Falls | 0 | 0 | 0
| Bindura | 12 | 2 | 2 | nullfffdd2
| Kadoma | 0 | 0 | 0
| Marondera | 0 | 0 | 0
| St Lukes | 0 | 0 | 0
| Gwanda | 0 | 0 | 0
| Total |  |  | 0
Request to BRTI from the laboratory
NMRL
NTBRL
Mutare
Wilkins
BRIDH
Gweru
Chinhoyi
Masvingo
Beitbridge
Victoria Falls
| Bindura | .fffdsgjugdjsy
Kadoma
Marondera
St Lukes
Gwanda
| Machine Breakdown (Number) | [6 empty] | Machine Downtime (days) | [5 empty] | Reagent Stockout
Machine Downtime and Reagent Stock out Tool |  | Abbott | BMX | GeneXpert | Quant Studio 3 | Hologic Panther | Comments | Abbott | BMX | GeneXpert | Quant Studio 3 | Hologic panther | Comments | Abbott | BMX | GeneXpert | Quant Studio 3 | Hologic panther | Comments
| NMRL | 0 | 1 | 0 | 0 |  | Waiting for a replacement part | 0 | 7 | 0 | 0 |  | Waiting for a replacement part | 0 | 7 | 0 | 0 |  | amplifications kits for quantistudio 3 platform out of stock
| NTBRL | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0
| Mutare | 0 |  | 0 |  |  |  | 0 |  | 0 |  |  |  | 0 |  | 0
| Wilkins |  | 0 | [5 empty] | 0 | [5 empty] | 0
| BRIDH |  |  | 0 | [5 empty] | 0 | [5 empty] | 0
| Gweru |  |  | 0 | [5 empty] | 0 | [5 empty] | 0
| Chinhoyi |  |  | 0 | [5 empty] | 0 | [5 empty] | 0
| Masvingo |  | 0 | 0 |  |  |  |  | 7 | 0 |  |  |  |  | 7 | 0
| Beitbridge | 0 |  | 7 |  |  | Gene xpert PC not functional | 0 |  | 7 |  |  | Gene xpert PC not functional | 0 |  | 7
| Victoria Falls |  |  | 1 |  |  | Hardware error |  |  | 1 |  |  | Hardware error |  |  | 0
| Bindura | 0 | 0 | 0 | 0 | 0 | weasdf vafdgxzvc | 0 | 0 | 0 | 0 | 0 | sdg zvczx dv | 0 | 0 | 0 | 0 | 0 | dsf gxzvdfg x
| Kadoma |  |  | 0 | [5 empty] | 0 | [5 empty] | 0
| Marondera |  |  | 0 | [5 empty] | 0 | [5 empty] | 0
| St Lukes | 0 |  | 0 |  |  |  | 0 |  | 0 |  |  |  | 0 |  | 0
| Gwanda | 0 |  | 0 |  |  |  | 0 |  | 0 |  |  |  | 0 |  | 0